## Sheet3
SCHEDULE OF RATES (SOR)
RFQ No.: AGL/O&M/ GWL/ Appliance /2025-26
Sr. No. |  | Quoted Make | Unit | Qty | Unit Rate (Excluding. GST) | GST % | Unit Rate (Including. GST) | Total Amount (Including. GST)
LOT-1 : Split AC
1 | Supply, Installation and Commissioning of Split AC including supply and installation of Condenser ODU stand, Soft copper tube with glossy finish inside along with insulation and Drain Pipe A. Capacity: 1.5 Ton and 5100 W Split AC (Inverter) B. Energy Rating : 3 Star C. Make: Blue Star/ Voltas/Hitachi/Daikin D. Warranty : 1 year Warranty & 5-year compressor warranty. |  | Nos | 2 |  |  | 0 | 0
2 | Buyback of OLD Air Conditioners (Split AC 1.5 tonn, make LG & Hitachi) |  | Nos | 2 |  |  | 0 | 0
Total Amount Including GST ( Sr. No. 1 Minus (-) Sr. No. 2) | [7 empty] | 0
Total Amount Including GST ( In Words)
LOT-2 : Water Cooler (Commercial)
3 | Supply, Installation and Commissioning of Water Cooler (Commercial) A. Capacity: 80 liters B. Make: Aqua guard/Blue star/Voltas/Eureka Forbes C. 1 year warranty and 1 year Annual Maintenance shall be in the vendor scope. |  | Nos | 1 |  |  | 0 | 0
Total Amount Including GST ( In Words)
LOT-3 : Water Purifier and Domestic RO
4 | Supply, Installation and Commissioning of Water Purifier A. Capacity: 500 LPH B. Make: Havells/ Kent/Aqua guard/LG/Eureka Forbs/Blue Mount. C. 3 years Comprehensive Warranty shall be in the vendor scope. |  | Nos | 1 |  |  | 0 | 0
5 | Supply, Installation and Commissioning of Domestic RO A. Capacity: 11 litres storage capacity B. Make: Havells/ Kent/Aqua guard/LG/Eureka Forbs/Blue Mount C. 01-year comprehensive warranty and 3 years’ free service shall be in the vendor scope. |  | Nos | 1 |  |  | 0 | 0
Total Amount Including GST ( Sr. No. 4 + Sr. No. 5) | [7 empty] | 0
Total Amount Including GST ( In Words)
1) Bidder can quote for any or all the lots. 2) Evaluation shall be done on Lot Wise overall lowest basis at least cost to the Purchaser. 3) Bidder are requested to quote firm unit price for above mentioned items as per scope of work. 2) INCOMPLETE quotation quoted will not be considered for evaluation & it will be liable for rejection. 3) AGL will not pay any ADDITIONAL amount other than Vendor's quoted price to carry out the scope of work during entire Scheduled contract period.
Name of Bidder with Seal and Sign
Date
Email
Mobile No.